## Slide 1
Conclusion
Background
Results
Material and Methods
Comparison of GeneXpert MTB/Rif and GenoType MTBDRplus for rapid diagnosis of MDR-TB in eastern DRC
Kashongwe ZM4, Bisimwa BC¹, Cirambiza JP4, Callens S³, André E²
¹ Laboratoire de Mycobactériologie, UCBukavu, Bukavu, DR Congo
² Pôle de microbiologie, Institut de Recherche Expérimentale et Clinique, UCLouvain, Brussels, Belgium
³ Internal Medicine Unit, Ghent University, Ghent, Belgium
⁴ Programme National de Lutte contre la Tuberculose, Kinshasa, DR Congo
This evaluation took place between September 2013 and March 2014.
We performed MTBDRplus PCR among 31 consecutive Rifampicin-resistant samples identified through the network of GeneXperts.
The Sud-Kivu province is located in eastern Democratic Republic of Congo (DRC).
This province of 6 million inhabitants has no culture and DST laboratories, and samples from patients suspected of MDR-TB have to be sent to Kinshasa by plane for further analysis. This situation has been linked to poor clinical outcomes and limited data available due to logistical constraints and high contaminations of culture.
Recently, 10 GeneXpert MTB/Rif automates and one Hain MTBDRplus PCR platform have been implemented through respectively TB REACH and VLIR-UOS support.
The aim of this study was to evaluate these two techniques in the epidemiological context of eastern-DRC.
Xpert MTB/Rif and MTBDRplus assay show a high concordance for the detection of rifampicin resistance among sputum specimen. Nevertheless, MTBRplus assay could not confirm multi-drug resistance among the majority of Rifampicin-resistant samples. This situation may be linked to poor sensitivity of MTBDRplus in detecting Isoniazid resistance or a high prevalence of rifampicin mono-resistance in this specific area.
Additional investigation through culture-based drug susceptibility testing (DST) should be systematically performed when Rifampicin resistance is detected. If high level of rifampicine mono-resistance is confirmed by DST, systematic initiation of 2nd line regimen excluding INH among Xpert resistant cases should be re-evaluated.
Among the 31 Rifampicin-resistant samples identified with GeneXpert, 30 (97%) were confirmed Rif-resistant using MTBDRplus. Only one sample showed a discordance between the two techniques.
Among the Rifampicin-resistant cases, 19/30 did not show any mutation in the MTBDRplus inhA nor katG bands.
PD-572-30
Modified abstract