Ready-to-use germanium surfaces for the development of FTIR-based biosensors for proteins

Pascale Blond,‡,¥ Ludovic Troian-Gautier,‡ Robin Bevernaegie,‡ Corinne Lagrost,⊥ Thomas Doneux,# Vincent Raussens,*,¥ Ivan Jabin*,‡

‡ Laboratoire de Chimie Organique, Université libre de Bruxelles (ULB), avenue F. D. Roosevelt 50, CP160/06, B-1050 Brussels, Belgium.

¥ Laboratory for the Structure and Function of Biological Membranes, Centre for Structural Biology and Bioinformatics, Université libre de Bruxelles (ULB), boulevard du Triomphe, CP206/02, B-1050 Brussels, Belgium.

⊥ Univ Rennes, CNRS, ISCR – UMR 6226, 35000 Rennes, France.

# Chimie Analytique et Chimie des Interfaces, Université libre de Bruxelles (ULB), boulevard du Triomphe, CP255, B-1050 Brussels, Belgium.

KEYWORDS. Biosensor, Germanium, Calixarenes, FTIR spectroscopy, Fluorescence microscopy

ABSTRACT. A novel calix[4]arene derivative was covalently anchored on germanium surfaces and investigated as candidate for the development of biosensors by IR spectroscopy. The carboxylic acid moiety of the calix[4]arene was post-functionalized with Bovine Serum Albumin (BSA) as well as biotin. Overall, the modified germanium surfaces were shown to i) prevent nonspecific adsorption of proteins, ii) selectively detect specific targets in complex media and iii) maintain the native form of the investigated proteins upon immobilization. This study opens real possibilities for the development of biosensors based on the detection of proteins by FTIR spectroscopy.

INTRODUCTION

Easy-to-use (bio)sensors are highly sought-after systems in a large number of fields that include medicine, food safety and environment. They enable the detection and sometimes the quantification of an analyte in a complex medium, based on its affinity for receptors immobilized on the sensor. Detection is performed through classical analytical methods including various spectroscopic techniques.

In the specific context of proteins detection, Fourier transform infrared (FTIR) spectroscopy is particularly well adapted, notably for identifying the secondary and tertiary structures of the target protein. In addition, a multitude of biophysical and chemical information can be obtained from the spectral signature of this kind of compound. Attenuated total reflectance (ATR) FTIR-based biosensors make use of an organic layer, directly grafted onto the internal reflection element (IRE), to which a biological receptor is bound. Common infrared-transparent materials for IRE include semiconductors such as silicon and germanium. Germanium has added advantages of exhibiting a high refractive index and a broader spectral window, which makes it particularly suitable for ATR analysis of proteins. However, unlike the gold substrates prized for biosensors like Biacore type, the germanium substrates are much less studied because they have long been overlooked due to the unstable nature of their surface oxide. Different strategies have thus been developed to overcome this problem and organic surface modifications via silanes or thiols are currently known. Unfortunately, the preliminary treatments of the surfaces for these two types of modifications remain laborious (oxidation, passivation, …) and the resulting surfaces therefore present a certain number of limitations (lifetime, reproducibility, thickness, available functions, ...). Another strategy relies on the reductive grafting of aryldiazonium salts, which leads to the strong and durable attachment of the organic units onto the germanium surface. However, due to the high reactivity of the radicals produced upon the reduction of diazonium cations, disordered multilayers are generally obtained through this method. The preparation of well-ordered monolayers with diazonium chemistry remains thus highly challenging, though this is a key point when immobilizing receptors in order to warrant an efficient sensing.

In this context, our group have developed a general surface modification strategy that consists in the covalent grafting of molecular platforms based on calix[4]arene-tetradiazonium salts. As demonstrated on various materials or nanomaterials, the unique macrocyclic structure of calix[4]arenes enables the formation of robust, dense and compact monolayers of controlled composition.  Based on this expertise, we have recently reported that a thin (ca. 3 nm) and robust coating of calix[4]arenes bearing oligo(ethylene glycol) (oEG) chains can be obtained on germanium IRE (Figure 1a). It was shown that such oEGylated calix[4]arene-based coatings reduce nonspecific adsorption of Bovine Serum Albumin (BSA) by more than 85%. To the best of our knowledge, this was the first study to show such a significant reduction if we also appreciate the stability of the coating and the extremely thin thickness of the organic layer. Since this thickness parameter is of crucial importance to ensure that the resulting IR spectrum only exhibits the absorbance of species in close contact with the IRE, the calixarene-based methodology appears thus very promising for the preparation of ready-to-use germanium surfaces that can serve to the design of ATR-FTIR-based biosensors. With this aim in mind, we report herein on the synthesis of a novel calix[4]arene-tetradiazonium salt bearing four oEG chains, one being terminated by a reactive functional group such as a carboxylic group. Once grafted on germanium surfaces, such a polyfunctional platform display antifouling properties while allowing the bioconjugation of biomolecules under classical conditions such as peptide type coupling (Figure 1b). Besides, with these all-in-one calixarenes, the ratio of functionalized/non functionalized oEG chains is controlled, avoiding the challenging formation of binary mixed layers. The usefulness of this approach for the design of FTIR-based ready-to-use germanium biosensors is illustrated by the detection of a specific protein among other ones.

Figure 1. a) previous work on oEGylated calix[4]arene-based germanium surfaces displaying antifouling properties; b) this work on ready-to-use germanium surfaces for the bioconjugation of biomolecules.1

RESULTS AND DISCUSSION

Synthesis and characterization of calix[4]arene-tetradiazonium salt 1. Synthesis of calix[4]arene-tetradiazonium salt 1 was achieved for the development of the targeted ready-to-use germanium surfaces (Scheme 1). Its oEG chain terminated by a carboxyl group is longer than the three others in order to facilitate the bioconjugation of biomolecules after grafting on a surface. Firstly, p-tBu-calix[4]arene was alkylated with bromo-tetra(ethylene glycol) monomethyl ether2 2 in the presence of Ba(OH)2/BaO. Under these conditions, which are known to lead to tris-O-alkylated derivatives,3 calix[4]arene 3 was isolated in 75% yield. Introduction of the fourth arm was then considered through alkylation of the remaining phenolic group by tosyl-hexa(ethylene glycol) derivative terminated by a protected carboxylic group. However, this synthetic route led to non-reproducible results due to the deprotection of the carboxylic group under the harsh basic reaction conditions (see supporting information). Another strategy consisting in the use of the tosyl-hexa(ethylene glycol) derivative terminated by an acetal protecting group 4 was thus developed. Alkylation of calixarene 3 by 4 led to the corresponding tetralalkylated compound whose hydroxyl group was directly deprotected under acidic conditions (94 % overall yield from 3). Further alkylation of the hydroxyl group of 5 by tBu-bromoacetate followed by ipso-nitration of the aromatic units led to the tetranitro derivative 6 in 51 % overall yield. Reduction of the corresponding nitro groups by tin(II) chloride afforded the corresponding tetraaniline 7 in 66 % yield. Finally, diazotation using NOBF4 in acetonitrile led to the desired tetradiazonium salt 1 in quantitative yield. Compound 1 was unambiguously characterized by IR (ν(N2+) = 2268 cm–1) and NMR spectroscopy.

Scheme 1. Synthesis of calix[4]arene-tris-oEG4-mono-oEG6-acid-tetradiazonium salt 1.

Covalent grafting of an oEGylated calix[4]arene-based layer on germanium. To achieve the grafting of the calixarene-based layer, we used a previously reported procedure that consists in generating the desired aryl radicals from the aryldiazonium groups under alkaline conditions.4,5 All the grafting experiments were repeated at least three times to assess reproducibility. In practice, the germanium substrates were immersed for 2 hours in an aqueous 0.1 M NaOH solution containing calixarene 1 (5 mM) (Scheme 2). The resulting different batches of germanium surfaces Ge-1 were then thoroughly washed with water and acetonitrile under sonication.

Scheme 2. Preparation of ready-to-use calixarene-based germanium surfaces. 6

The different batches of Ge-1 were analyzed by ATR-FTIR spectroscopy as well as by ellipsometry to assess the grafting and to estimate the thickness of the organic layer. The IR absorbance spectrum of Ge-1 exhibited bands that are typical of the calixarene core and of the oEG chains, as shown by the comparison with the spectrum of calix[4]arene 7 (Figure 1). More specifically, the asymmetric COC stretching from the oEG chains around 1100 cm–1 was visible in both spectra. Other bands such as the symmetric COCAr stretching around 1050 cm–1 and the aromatic ring stretching around 1460 cm–1 also unambiguously confirmed the presence of calix[4]arene moieties on the Ge surface. It is noteworthy that the typical vibrational bands for carboxylate groups at ~1600 cm–1 and ~1420 cm–1 are too weak to be significantly distinguished, in accordance with the larger distance between these groups and the IRE surface.

Thickness value of 2.53 ± 0.90 nm was found by ellipsometric measurements. This value corresponds well to the estimated height of calixarene 1 (ca. 3.0 nm estimated from MM2 energy minimizations with ChemBio3D software) and is similar to what was previously reported.5 It is noteworthy that such a value could also reflect an inhomogeneous grafting and is thus not a clear evidence of a monolayer on the surface. Nevertheless, it was previously shown that the calixarene-based methodology leads to the formation of monolayers; i.e. through AFM scratching experiments on various substrates.4-5, 7

Figure 1. Normalized ATR-FTIR absorption spectra (3100-2700 cm–1 and 1800-800 cm–1) of modified surface Ge-1 (red) and calix[4]arene 7 (blue).

We can conclude from the combination of these IR analyses and ellipsometric measurements that thin films of oEGylated calix[4]arenes decorated with a carboxylate group were grafted on germanium surfaces. Very interestingly, these ready-to-use surfaces could be stored for months at room temperature and under laboratory atmosphere before their use for the immobilization of biomolecules. The great robustness of the calixarene-coated surfaces is also demonstrated by their resistance to the aggressive washing treatments (i.e. organic solvent under sonication).

Post-functionalization of the ready-to-use calixarene-based germanium surfaces. Bovine Serum Albumin (BSA) was used as a model protein to investigate the post-functionalization of the grafted calix[4]arene layer through peptide-like coupling reactions. First, the carboxylate groups present at the surface of Ge-1 were converted to the corresponding activated esters using 1-ethyl-3-(3-dimethylaminopropyl)carbodiimide (EDC) and N-hydroxysuccinimide (NHS) (Scheme 2). The possibility to bioconjugate BSA to the resulting activated surface Ge-1’ was then evaluated by ATR-FTIR spectroscopy and fluorescence microscopy.

Scheme 3. Post-functionalization of the calixarene-based layer with BSA (left) or biotin-oEG2-NH2 (right) and specific recognition of streptavidin (SA).

Regarding the IR experiments, different batches of Ge-1’ surfaces were incubated for 3 hours in a 0.1 mg/mL BSA solution [0.1 M phosphate-buffered saline (PBS) buffer at pH 7.4)] (Scheme 3). The resulting surfaces Ge-1-BSA were then thoroughly washed with ultrapure water under sonication. The bioconjugated BSA was characterized by an amide-I band at 1657 cm–1, which is mainly associated with the C=O(NH) stretching vibrations and an amide-II band at 1547 cm–1, which results mainly from in-plane NH bending vibrations (Figure 2, green spectrum). It is noteworthy that an absorption maximum at 1657 cm–1 for the amide-I band corresponds predominantly to proteins whose major secondary structure is an α helix, which is the native structure of BSA (Figure 2, black spectrum). Therefore, BSA maintains its native structure after grafting, indicating that the germanium support has a protein-friendly character. In a control experiment, a non-activated Ge-1 surface was exposed to the same experimental bioconjugation and washing conditions. In this case, no characteristic bands associated with BSA were observed (Figure 2, blue spectrum). When subtracting the spectrum of Ge-1-control from that of Ge-1-BSA, only the signals of the bioconjugated protein were clearly observed (Figure 2, magenta spectrum), confirming the covalent immobilization of BSA on the surfaces Ge-1-BSA. The non-detection of BSA on the surface Ge-1-control also highlights the remarkable antifouling properties of the oEGylated calixarene-based layers.

Figure 2. Normalized ATR-FTIR absorption spectra (1800-900 cm–1) of a)  BSA bioconjugated on Ge-1’ (green) and b) Ge-1-control (blue). Spectrum c) (magenta) is a subtraction of spectrum b to a. Spectrum d) corresponds to native free BSA (black).

Regarding the fluorescence microscopy studies, fluorescein isothiocyanate-BSA conjugate (FITC-BSA) was used in place of BSA for the grafting experiments. Microarrays of FITC-BSA were printed on germanium surfaces Ge-1’ with an Arrayjet Marathon non-contact inkjet Microarrayer (ArrayJet, Roslin, UK). More precisely, drops of ca. 100 pL  of FITC-BSA solutions (0.5 to 10 mg/mL in 0.1 M PBS buffer at pH 7.4/ethylene glycol 1/1 v/v) were deposited to form regular arrays. After 3 hours of incubation, the slides were rinsed with ultrapure water and analyzed. From top to bottom in Figure 3, the concentration of FITC-BSA was gradually decreased from 10 to 0.5 mg/mL, allowing a qualitative comparison. In all cases, protein spots are clearly visible, indicating that the bioconjugation of FITC-BSA was effective in the whole concentration range.

Figure 3. Bright-field (left) and fluorescence images (right) acquired on germanium surfaces Ge-1’ that were locally incubated by printing a fluorescent FITC-BSA solution of 10, 5, 1, and 0.5 mg/mL (from top to bottom) (three replicates presented).

Development of a germanium-based FTIR biosensor for proteins. The streptavidin-biotin recognition system was used to validate protein detection by the calixarene-coated germanium surfaces. First, fluorescence microscopy analysis was performed to investigate the interaction behavior of fluorescent streptavidin ATTO-655 with Ge-1-biotin spotted surfaces (see experimental section for the preparation of these surfaces). The Ge-1-biotin spotted surfaces were incubated with a 0.5 µL drop of a solution containing 100 µg/mL of fluorescent streptavidin ATTO-655 and 100 µg/mL of fluorescent FITC-BSA in 0.1 M PBS buffer at pH 7.4/ethylene glycol 1/1 v/v. After 2 hours of incubation, the slides were rinsed with ultrapure water. A microarray that was generated by the specific interaction of streptavidin ATTO-655 with the immobilized biotin was detected by fluorescence microscopy (Figure 4b). The border of the incubation drop was visible on the left of Figure 4b. The level of fluorescence in the area outside of the incubation drop was close to that observed in the interstices of the microarray, where incubation was carried out, but biotin was not immobilized. Hence, these interstices serve as a control area to evaluate the streptavidin nonspecific adsorption which is extremely limited according to the fluorescence intensity in these regions. Moreover, the absence of fluorescence associated with FITC-BSA (Figure 4c) shows the absence of BSA nonspecific adsorption. These fluorescence microscopy results highlight the remarkable selectivity of our biosensing system as the presence of other proteins in the incubation media did not interfere with the recognition process.

(c)

(b)

(a)

Figure 4. Bright-field (a) and fluorescence images (b and c) acquired on Ge-1-biotin spotted that were locally incubated with fluorescent streptavidin ATTO-655 and fluorescent FITC-BSA. The images were acquired with specific parameters (see experimental section) to only see the fluorescence of ATTO-655 (b) or FITC dye (c).

Finally, protein detection was investigated by IR spectroscopy. Germanium surfaces Ge-1-biotin (Scheme 3) were incubated with drops of 1 µL solution of 100 µg/mL streptavidin in 0.1 M PBS buffer at pH 7.4/ethylene glycol 1/1 v/v. Other incubation experiments were conducted under the same conditions except that BSA (100 µg/mL) was also added. After 3 hours of incubation, all the surfaces were rinsed with ultrapure water. In all cases, streptavidin was efficiently detected by the characteristic amide-I and amide-II bands at 1637 cm–1 and 1535 cm–1, respectively (Figure 5). These wavenumbers indicate that the streptavidin displays an antiparallel β-sheet structure, which corresponds to its native conformation. Very interestingly, no contribution from BSA at 1657 cm–1 can be detected in the spectra obtained from incubation experiments in presence of this protein, highlighting the remarkable antifouling properties of the calixarene-coated germanium surfaces.

Altogether, these IR and fluorescence microscopy results indicate that the surface modification strategy based on the calix[4]arene-based platform allows on the one hand to immobilize receptors that retain their recognition properties and on the other hand to selectively detect a protein in a medium containing other proteins.

Figure 5. Normalized ATR-FTIR absorption spectra (1800-900 cm–1) obtained after incubation of  Ge-1-biotin surfaces in either solutions of streptavidin (blue) or streptavidin/BSA (green).

CONCLUSIONS

The calixarene-based methodology allows a simple and robust functionalization of germanium surfaces. Newly synthesized oEGylated calix[4]arene-tetradiazonium salt 1 was used for the elaboration of ready-to-use surfaces that can serve to the immobilization of biomolecules under mild conditions while displaying antifouling properties. Thus, graftable calix[4]arenes constitute all-in-one molecular platforms that bring simultaneously multiple new properties to a surface. Importantly, the native form of the investigated proteins was maintained upon immobilization on germanium, as evidenced by IR spectroscopy. The calixarene-coated germanium surfaces developed in the framework of this study were used for the selective detection by FTIR spectroscopy and fluorescence microscopy of streptavidin in presence of BSA. This study not only constitutes a proof of concept that FTIR sensing of proteins can be achieved by this approach but also highlights that other analytical techniques, such as fluorescence microscopy, are compatible with the calixarene-based methodology. In addition to qualitative analysis of protein’s structures, IR spectroscopy allows quantitative analysis. Calibration models could be developed to quantify the number of receptors on the surface as well as the number of targets to be detected.

EXPERIMENTAL SECTION

Chemicals and Materials All solvents and reagents were at least of reagent grade quality and were purchased either from Alfa Aesar, Sigma-Aldrich, TCI, or Acros Organics. All reactions were performed under an inert atmosphere. Reactions were magnetically stirred and monitored by thin layer chromatography using Merck Kiesegel 60F254 plates. Flash chromatography was performed with silica gel 60 (particle size 35−70 μm) supplied by Merck. Anhydrous DMF was obtained from Acros Organics. Anhydrous THF was obtained from distillation on Na/benzophenone. Anhydrous DCM was obtained from distillation on CaH2. Ultrapure water was obtained via a Millipore Milli-Q system (18.2 MΩ·cm). The fluorescent FITC-BSA (fluorescein isothiocyanate-bovine serum albumin conjugate) was purchased from Sigma-Aldrich as well as the BSA used for ATR-FTIR spectroscopy experiments. The fluorescent streptavidin-ATTO655 was purchased from ATTO-TEC and the streptavidin used for ATR-FTIR spectroscopy experiments was purchased from Alfa Aesar. Both polished germanium squares (10 × 10 × 0.5 mm) and germanium single-crystal triangular prisms (base 6.8 mm × 45 mm length and an internal incident angle of 45°) were purchased from ACM (France). Syntheses of compounds 2 and 4 were achieved as previously described and are given in the supporting information. The detailed synthesis of compound 1 is given here.

Synthesis of calix[4]arene-tetra-tBu-tris-oEG4 3. Commercial p-tBu-calix[4]arene (3.4 g, 5.2 mmol) was dissolved in dry DMF (80 mL). Anhydrous barium hydroxide (2.7 g, 15.8 mmol) and barium oxide (3.8 g, 24.8 mmol) were added, followed by compound 2 (10 g, 36.9 mmol). The reaction mixture was stirred at 75°C for 16 hours under inert atmosphere. After reaction, the mixture was brought to room temperature and 5 mL of H2O was added. The mixture was filtered and the filtrate was evaporated under reduced pressure. The resulting oil was dissolved in DCM (100 mL) and washed three times with water (3 x 70 mL) The organic layer was filtered on WA and the filtrate was concentrated under reduced pressure. The crude oil was purified by flash chromatography on silica gel (EtOAc/MeOH = 100:0 to 97:3) to afford the desired compound 3 as a pale-yellow oil (5.7 g, 4.7 mmol, 89 % yield). 1H NMR (300 MHz, CDCl3, 298 K) δ 7.10 (s, 2H), 7.02 (s, 2H), 6.51 (s, 4H), 5.71 (s, 1H), 4.38 (dd, J = 19.1, 12.8 Hz, 4H), 4.16 (s, 4H), 4.03 (s, 4H), 3.83 (s, 4H), 3.75 – 3.47 (m, 40H), 3.37 (d, J = 3.5 Hz, 9H), 3.17 (dd, J = 17.6, 13.0 Hz, 4H), 1.32 (d, J = 2.8 Hz, 18H), 0.82 (s, 18H). 13C NMR (100 MHz, CDCl3, 298K), δ (ppm): 31.2, 31.2, 31.4, 31.8, 31.9, 33.8, 34.0, 34.2, 59.1, 70.0, 70.1, 70.6, 70.7, 70.7, 70.8, 70.9, 71.6, 72.0, 72.1, 74.5, 124.9, 125.0, 125.1, 125.8, 129.1, 132.1, 132.5, 135.9, 141.4, 145.5, 145.8, 150.7, 151.4, 153.7. FTIR, ν (cm-1): 2952, 2923, 2902, 2867, 1723, 1478, 1457, 1359, 1296, 1246, 1199, 1107, 1046, 940, 871. HRMS: calcd. for C71H110O16Na (M+Na)+ 1241.77 found 1241.67.

Synthesis of calix[4]arene-tetra-tBu-tris-oEG4-mono-oEG6-OH 5. Calix[4]arene-tris-oEG4 3 (1.00 g, 0.82 mmol) was dissolved in dry DMF (20 mL). NaH (60% dispersion in oil, 66 mg, 1.64 mmol) was added and the mixture was stirred at room temperature for 5 minutes under inert atmosphere. Then, compound 4 (0.85 g, 1.64 mmol) was added and the reaction mixture was stirred for 16 hours at 75°C under inert atmosphere. After reaction, the mixture was concentrated under reduced pressure. The resulting oil was dissolved in DCM (50 mL) and washed three times with water (3 x 50 mL). The organic layer was filtered on WA and the filtrate was concentrated under reduced pressure. The resulting oil was dissolved in MeOH (10 mL) and 1 mL of HCl (37%) was added. The reaction mixture was stirred at room temperature for 2 hours. After reaction, the mixture was concentrated under reduced pressure. The resulting oil was dissolved in DCM (25 mL) and washed three times with water (3 x 25 mL). The organic layer was filtered on WA and the filtrate was evaporated under reduced pressure to afford the desired compound 5 as a pale-yellow oil (1.15 g, 7.75 mmol, 94 % yield). 1H NMR (300 MHz, CDCl3, 298K), δ (ppm): 1.06 (s, 18H), 1.07 (s, 18H), 1.47 (s, 9H), 3.09 (d, J = 12.4 Hz, 4H), 3.37 (s, 9H), 3.51-3.69 (m, 70H), 3.86-3.97 (m, 8H), 4.02-4.19 (m, 8H), 4.41 (d, J = 12.4 Hz, 4H), 6.75 (s, 8H).

Synthesis of calix[4]arene-tetra-nitro-tris-oEG4-mono-oEG6-acid 6. Calix[4]arene-tetra-tBu-tris-oEG4-mono-oEG6-OH 5 (0.5 g, 0.34 mmol) was dissolved in dry DMF (10 mL). NaH (60% dispersion in oil, 135 mg, 3.37 mmol) was added and the mixture was stirred at room temperature for 5 minutes under inert atmosphere. Then, tert-butylbromoacetate (500 µL, 3.37 mmol) was added and the reaction mixture was stirred for 16 hours at 75°C under inert atmosphere. After reaction, the mixture was concentrated under reduced pressure. The resulting oil was dissolved in DCM (50 mL) and washed three times with water (3 x 50 mL). The organic layer was filtered on WA and the filtrate was concentrated under reduced pressure. The resulting oil was dissolved in DCM (15 mL) and cooled to 0°C. A mixture of glacial CH3COOH/fuming HNO3 (1:1) (2 mL) was added. The purple mixture was stirred at 0°C for 5 minutes and then at room temperature for 16 hours. After reaction, the mixture was diluted with DCM (35 mL) and the organic layer was washed with water (several times 50 mL) until the pH of the aqueous phase reached 7. The organic layer was filtered on WA and the filtrate was concentrated under reduced pressure. The resulting oil was triturated three times with 5 mL of diethylether. The diethylether was discarded and the remaining oil was dried under vacuum to yield compound 6 as a yellow oil (0.26 g, 1.71 mmol, 51 % yield). 1H NMR (300 MHz, CDCl3, 298 K) δ 7.59 (s, 4H), 7.57 (s, 4H), 4.65 (d, J = 14.2 Hz, 4H), 4.24 (s, 8H), 4.12 (s, 2H), 3.81 (s, 8H), 3.65 – 3.50 (m, 65H), 3.43 – 3.33 (s, 15H). 13C NMR (100 MHz, CDCl3, 298K), δ (ppm): 31.2, 59.1, 69.2, 70.4, 70.5, 70.5, 70.6, 70.7, 72.0, 74.5, 124.0, 135.9, 143.1, 161.9, 171.5. FTIR, ν (cm-1): 2920, 2870, 1741, 1585, 1521, 1449, 1345, 1300, 1262, 1212, 1094, 1043, 928. HRMS: calcd. for C69H101N4O32 (M+H)+ 1497.64 found 1497.64.

Synthesis of calix[4]-tetraaniline-tris-oEG4-mono-oEG6-acid 7. Calix[4]arene-tetra-nitro-tris-oEG4-mono-oEG6-acid 6 (1.22 g, 0.81 mmol) and SnCl2.2H2O (4.10 g, 18.1 mmol) were suspended in EtOH (50 mL). The reaction mixture was stirred for 16 hours at 60°C under inert atmosphere. After reaction, the mixture was brought to room temperature and an aqueous NaOH solution (1 M) was added until pH 10 was reached. The mixture was concentrated under reduced pressure. The crude residue was suspended in MeOH (10 mL) and filtered. The filtrate was evaporated under reduced pressure and the residue was suspended in DCM (5 mL). The mixture was filtered and the filtrate was evaporated to yield the compound 7 as a yellow-orange oil (757 mg, 0.54 mmol, 66%). 1H NMR (400 MHz, CD3OD, 298K), δ (ppm): 2.97 (d, J = 13 Hz, 2H), 2.98 (d, J = 14 Hz, 2H), 3.34 (s, 9H), 3.49-3.72 (m, 56H), 3.86-3.90 (m, 10H), 4.03-4.10 (m, 8H), 4.39 (d, J = 13 Hz, 2H), 4.40 (d, J = 13 Hz, 2H), 6.22 (s, 4H), 6.25 (s, 4H). 13C NMR (100 MHz, CD3OD, 298K), δ (ppm): 32.0, 59.1, 70.4, 70.6, 70.7, 70.7, 71.0, 71.1, 71.3, 71.4, 71.6, 73.0, 74.9, 117.4, 136.9, 142.8, 149.9, 177.4. FTIR, ν (cm-1): 3352, 2917, 2870, 1607, 1474, 1455, 1349, 1245, 1212, 1104, 1948, 945, 852. HRMS: calcd. for C69H109N4O24 (M+H)+ 1377.74 found 1377.75.

Synthesis of calix[4]arene-tetradiazonium-tris-oEG4-mono-oEG6-acid 1 Calix[4]-tetra-aniline-tris-oEG4-mono-oEG6-acid 7 (200 mg, 0.14 mmol) was dissolved in dry acetonitrile (3 mL). At –40°C, NOBF4 (150 mg, 1.28 mmol) was added and the reaction mixture was stirred at –40°C for 2 hours under inert atmosphere. After reaction, the mixture was evaporated under reduced pressure and the resulting oil was triturated three times with 3 mL of diethylether. The resulting oil was dissolved in dry acetonitrile and evaporated under reduced pressure to yield the desired compound 6 as a red oil (240 mg, 1.35 mmol, 94% yield). HRMS analysis was not performed because of the low stability of compound 1 against temperature. 1H NMR (300 MHz, CD3CN, 298K), δ (ppm): 3.30 (s, 9H), 3.53 (m, 61H), 3.67-3.85 (m, 13H), 4.10 (s, 2H), 4.48 (s, 8H) ,4.72 (d, J = 14.7 Hz, 4H), 7.99 (s, 4H), 8.08 (s, 4H). 13C NMR (100 MHz, CD3CN, 298K), δ (ppm): 31.1, 58.9, 70.8, 70.9, 71.0, 71.1, 72.5, 77.6, 107.8, 135.1, 138.8, 168.8, 172.7. FTIR, ν (cm-1): 3238, 3086, 2930, 2883, 2268, 1734, 1570, 1441, 1354, 1291, 1263, 1090, 919, 844.

Chemical grafting of calixarene 1 on germanium surfaces. Germanium surfaces were first immersed in ultrapure water and then in ethanol. Sonication was applied each time for 5 min. They were then rinsed with Et2O and dried under argon atmosphere. The surfaces were dipped in a 5 mM solution of the diazonium salt 1 in aqueous 0.1 M sodium hydroxide for 2h, without stirring in order to avoid any mechanical damage of the surface (a minimal volume of solution was used). Once the grafting was achieved, all of the surfaces were thoroughly washed with ultrapure water and then acetonitrile. Sonication was applied each time for 5 min. The surfaces were then dried under argon flow.

Post-functionalization of surfaces Ge-1 with BSA. The bioconjugation reactions on surfaces Ge-1 were carried out by prior activation of the carboxylate group. Ge-1 surfaces were placed in a sealed tube and covered with 80 mM EDC solution in MES buffer at pH 6.0. Directly, an equal amount of an 200 mM NHS solution in MES buffer at pH 6.0 was added, giving rise to a final concentration of 40 mM EDC and 100 mM NHS in MES buffer (0.1 M). The mixture was allowed to react for 2 h under argon atmosphere. Then the surfaces were washed with ultrapure water and dried under an argon flow. The resulting activated surfaces Ge-1’ were then locally incubated under either conditions A or B.

Conditions A. Microarrays of fluorescent FITC-BSA solution were printed with an Arrayjet Marathon non-contact inkjet Microarrayer (ArrayJet, Roslin, UK) on germanium slides Ge-1’. Drops of ca. 100 pL protein solutions (0.5, 1, 5 and 10 mg/mL) in 0.1 M PBS buffer at pH 7.4/ethylene glycol 1/1 v/v were deposited to form regular arrays. Each sample was spotted 30 times in X direction (30 replicates). After 3 hours of incubation, the slides were rinsed with ultrapure water and dried under argon flow.

Conditions B. The Ge-1’ IRE as well as the Ge-1-control IRE were incubated during 3 hours in a 0.1 mg/mL BSA solution in 0.1 M PBS buffer at pH 7.4. After reaction, the surfaces were thoroughly washed with ultrapure water under sonication. The surfaces were then dried under an argon flow.

Post-functionalization of surfaces Ge-1 with biotin. The bioconjugation reactions on surfaces Ge-1 were carried out by prior activation of the carboxylate group. Ge-1 surfaces were placed in a sealed tube and covered with 80 mM EDC solution in MES buffer at pH 6.0. Directly, an equal amount of an 200 mM NHS solution in MES buffer at pH 6.0 was added, giving rise to a final concentration of 40 mM EDC and 100 mM NHS in MES buffer (0.1 M). The mixture was allowed to react for 2 h under argon atmosphere. Then the surfaces were washed with ultrapure water and dried under an argon flow. The resulting activated surfaces Ge-1’ were then locally incubated under either conditions A' or B'.

Conditions A'. Microarrays of biotin solution were printed with an Arrayjet Marathon non-contact inkjet Microarrayer (ArrayJet, Roslin, UK) on germanium slides Ge-1’. Drops of ca. 100 pL biotin solutions (10 mg/mL) in 0.1 M PBS buffer at pH 7.4/ethylene glycol 1/1 v/v were deposited to form regular arrays. Each sample was spotted 30 times in X direction (30 replicates). After 3 hours of incubation, the slides were rinsed with ultrapure water and dried under argon flow.

Conditions B'. The Ge-1’ IRE  were incubated during 3 hours in a 10 mg/mL biotin solution in 0.1 M PBS buffer at pH 7.4. The surfaces were then thoroughly washed with ultrapure water under sonication and dried under argon flow.

Sensing of streptavidin. Before any detection experiment, the residual activated esters were first quenched by 10 minutes incubation of the surfaces in a PBS buffer solution at pH 9.3. The biotinylated surfaces Ge-1-biotin (spotted or not) were then locally incubated under either conditions A" or B".

Conditions A". The Ge-1-biotin spotted surfaces were incubated with a drop of 0.5 µL of a solution containing 100 µg/mL of fluorescent streptavidin ATTO-655 and 100 µg/mL of fluorescent FITC-BSA in 0.1 M PBS buffer at pH 7.4/ethylene glycol 1/1 v/v. After 2 hours of incubation, the slides were rinsed with ultrapure water and then dried under argon flow.

Conditions B". The Ge-1-biotin IRE were incubated with drops of 1 µL solution of 100 µg/mL streptavidin in 0.1 M PBS buffer at pH 7.4/ethylene glycol 1/1 v/v. The same surfaces were also incubated with drops of 1 µL of solution containing 100 µg/mL of streptavidin and 100 µg/mL of BSA in 0.1 M PBS buffer at pH 7.4/Ethylene glycol 1/1 v/v. After 3 hours of incubation, the surfaces were rinsed with ultrapure water and then dried under argon flow.

ATR-FTIR spectra were recorded at 22°C on a Bruker Equinox 55 FTIR spectrophotometer equipped with a liquid-nitrogen-cooled mercury−cadmium−telluride detector. The spectrophotometer was continuously purged with dried air. The target chemicals were deposited in solution on a germanium single-crystal internal reflection element (triangular prism of 6.8 × 45 mm, with an internal incidence angle of 45°), and the solvent was removed with a flow of nitrogen gas. Bare germanium was used for the background spectrum. Opus software (4.2.37) was used to record 128 scans with a nominal resolution of 4 cm−1. Data were processed and analyzed using the home-written Kinetics package in Matlab R2007a by subtraction of water vapor, baseline correction, and apodization at 8 cm−1. All spectra were equally normalized on the aromatic ring stretching of the calixarenes around 1460 cm–1.

Fluorescence microscopy experiments were conducted on a Nikon Ti-Eclipse inverted microscope. A filter cube (Semrock) with a 628 nm excitation filter (bandpass 40 nm), a dichroic mirror centered at 660 nm and a 692 nm emission filter (bandpass 40 nm) was employed to match the spectral properties of ATTO 655. A filter cube (B-2A) with a 470 nm excitation filter (bandpass 40 nm), a dichroic mirror centered at 505 nm and a 515 nm emission filter (Longpass) was employed to match the spectral properties of FITC. The surface exposure time for image recording varies between 100 ms for bright field images and 5000 ms for fluorescence images. 8 scans are recorded for the fluorescence images for the detection of the ATTO-655 dye and for the other images a single scan is performed. The images were acquired with an Andor Clara camera controlled by the Solis software. A 10× magnification objective (NA = 0.30, working distance 16 mm) was employed, providing an imaging density of 1.7 pixels per µm. The images were processed with the ImageJ software.

ASSOCIATED CONTENT

Supporting Information. The Supporting Information is available free of charge on the ACS Publications website at DOI: XXX.

Detailed procedure for the preparation and characterization of the synthesized compounds, NMR spectra (PDF).

Conflicts of interest.

L. T.-G. was a postdoctoral researcher for X4C between October 2014 and September 2015. I. J. is a shareholder of X4C and a consultant for X4C. All other authors declare that they have no conflict of interest.

Corresponding Authors

Ivan.Jabin@ulb.be, Vincent.Raussens@ulb.ac.be

ACKNOWLEDGMENT

The authors would like to thank Joëlle De Meutter and Erik Goorgmaghtigh for performing the printing experiences with an Arrayjet Marathon non-contact inkjet Microarrayer (ArrayJet, Roslin, UK) on the germanium slides. The “Actions de Recherches Concertées” of the Fédération Wallonie-Bruxelles, the Bridge – Green Chemistry Program of Innoviris (postdoctoral grant to R.B.), the Fonds de la Recherche Scientifique (postdoctoral grant to L.T.-G.) and the ULB (Ph.D. grant to P.B.) are acknowledged for financial support.

REFERENCES

1.	Note that these this figures shows ideal situations where the grafted calix[4]arenes forms four covalent bonds with the surface, but the number of links may vary between one to four.

2.	Yuan, Z.; Chen, J.; Zeng, Y.; Li, Y.-Y.; Han, Y.; Li, Y., Unsurpassed cage effect for the photolysis of dibenzyl ketones in water-soluble dendrimers. Organic & Biomolecular Chemistry 2011, 9 (18), 6256-6264.

3.	Lavendomme, R.; Zahim, S.; De Leener, G.; Inthasot, A.; Mattiuzzi, A.; Luhmer, M.; Reinaud, O.; Jabin, I., Rational Strategies for the Selective Functionalization of Calixarenes. Asian Journal of Organic Chemistry 2015, 4 (8), 710-722.

4.	Troian-Gautier, L.; Martínez-Tong, D. E.; Hubert, J.; Reniers, F.; Sferrazza, M.; Mattiuzzi, A.; Lagrost, C.; Jabin, I., Controlled Modification of Polymer Surfaces through Grafting of Calix[4]arene-Tetradiazoate Salts. The Journal of Physical Chemistry C 2016, 120 (40), 22936-22945.

5.	Blond, P.; Mattiuzzi, A.; Valkenier, H.; Troian-Gautier, L.; Bergamini, J.-F.; Doneux, T.; Goormaghtigh, E.; Raussens, V.; Jabin, I., Grafting of Oligo(ethylene glycol)-Functionalized Calix[4]arene-Tetradiazonium Salts for Antifouling Germanium and Gold Surfaces. Langmuir 2018, 34 (21), 6021-6027.

6.	Note that these this figures shows ideal situations where the grafted calix[4]arenes forms four covalent bonds with the surface, but the number of links may vary between one to four.

7.	Mattiuzzi, A.; Jabin, I.; Mangeney, C.; Roux, C.; Reinaud, O.; Santos, L.; Bergamini, J. F.; Hapiot, P.; Lagrost, C., Electrografting of calix[4]arenediazonium salts to form versatile robust platforms for spatially controlled surface functionalization. Nat Commun 2012, 3, 1130.